## Slide 1
Yoenie Indrasary
Nim. 33221303
Pembimbing:
Dr.techn. Ary Setijadi Prihatmanto, S.T., M.T.
SEMINAR PENELITIAN Sistem Alat Bantu Diagnosa Penyakit Paru Berdasarkan Citra X-RAY Thorax Berbantukan Deep Learning

## Slide 2: Outline
Introduction
System Overview
System Architecture
Dataset
Aplication Scenario
User Interface

## Slide 3: Introduction
Pulmonolog VS Indonesia citizen ratio is more or less 1:100.000
Radiolog VS Indonesia citizen ratio is more or less 1:164.000
High prevalence of lung desease in Indonesia
Diagnosis as key procedure for the patients to get proper lung desease management
There is some chances that AI could help the diagnosis process as important part of necessary healthcare carried out by medician

## Slide 4: Application Scenario
Doctor interview patient
Doctor inputing some sympthoms
Radiologist scan the X-ray film and uploading the file with the analysis
AI Agent performing learning process to identify some pathological signs in the X-Ray image
Doctor receive the diagnosis result done by the AI agent (preliminary diagnose)
Doctor verifying the diagnosis result done by AI agent
Doctor inputing the result of analysis
Doctor performing medical judgement to the patient

## Slide 5: System architecture
Notes: Arsitektur yang diharapkan, pada tahapan ini blok NLP dan Unit Processing Knowledge belum diimplementasikan

## Slide 6: Data Flow

## Slide 7: Specification

## Slide 8: The lung desease detection process by AI agent
Notes: Metode end to end: dari gambar langsung di-infer menjadi prediksi tanpa ada fitur medium. Why: informasi tetap di jaga dan ditangani oleh model saja.
Composite Model → (asumsi) akan lebih akurat, modular, kapasitas sistem tidak menjadi masalah untuk infrastruktur pptik

## Slide 9: Gambaran Umum Sistem

## Slide 10: Dataset

## Slide 11: List of available data and the number that being used
Data Set | Jumlah Data (xray)
RSNA Pneumonia Challenge | 29.684
CheXpert | 223.649
NIH | 112.120
PadChest | 160.861
Open-I | 7.470
NLMTB | 1.087
VinBigData | 18.000
Covid Chestxray | 910
Khulna | 4.575
StonyBrook | 2.373
Total | 560.729

## Slide 12: Sebaran Data Pembuatan Model
Pelatihan
Testing
Penyakit | NIH | RSNA | Covid Chestxray | PadChest | CheXPert | Open-I | Khulna | StonyBrook | NLMTB | TOTAL
COVID-19 |  |  | 96 |  |  |  | 305 | 475 |  | 876
Pneumonia | 286 | 1202 | 133 | 1017 | 936 | 16 | 132 |  |  | 3722
Tuberculosis |  |  | 2 | 155 |  |  |  |  | 79 | 236
Penyakit | NIH | RSNA | Covid Chestxray | PadChest | CheXPert | Open-I | Khulna | StonyBrook | NLMTB | TOTAL
COVID-19 |  |  | 381 |  |  |  | 1220 | 1898 |  | 3499
Pneumonia | 1145 | 4810 | 534 | 4066 | 3746 | 62 | 527 |  |  | 14890
Tuberculosis |  |  | 9 | 619 |  | 2 |  |  | 315 | 945

## Slide 13: User Interface 1
http://x-ray.pptik.id

## Slide 14: User Interface 2
http://x-ray.pptik.id

## Slide 15: User Interface 3
http://x-ray.pptik.id

## Slide 16: User Interface 4
http://x-ray.pptik.id

## Slide 17: User Interface 5
http://x-ray.pptik.id

## Slide 18: User Interface 6
http://x-ray.pptik.id

## Slide 19: User Interface 7
http://x-ray.pptik.id

## Slide 20: User Interface 8
http://x-ray.pptik.id

## Slide 21: Model Deteksi COVID-19
Disease | Arsitektur Model | Testing Score |  |  | 
 |  | Accuracy | Precision | Recall | F1 Score
COVID-19 | ResNet50 | 87.03 | 85.06 | 89.83 | 87.38
 | ResNet101 | 89.54 | 86.65 | 93.49 | 89.94
 | VGG19 | 93.26 | 92.96 | 93.6 | 93.28
Pneumonia | ResNet50 | 84.91 | 83.89 | 86.43 | 85.14
 | ResNet101 | 83.49 | 83.30 | 83.77 | 83.54
 | VGG19 | 85.69 | 86.79 | 84.20 | 85.48
Tuberculosis | ResNet50 | 78.6 | 79.74 | 76.69 | 78.19
 | ResNet101 | 81.78 | 85.71 | 76.27 | 80.72
 | VGG19 | 81.99 | 87.56 | 74.58 | 80.55

## Slide 22: Web Application Testing
Test Case : Upload Citra Thorax Xray
Pre-Requisite : Akun tervalidasi (radiolog)
Steps No | Action | Input | Expected Output | Test Result
1 | Membuka url website (http://x-ray.pptik.id) | User : dr ahmad Pass: qwerty | Halaman Dashboard | Pass
2 | Pilih daftar pasien dengan status “UPLOAD” | Klik tombol upload pada salah satu data pasien | Halaman Upload CItra | Pass
3 | Klik tombol browse dan pilih citra Xray yang sesuai dengan id pasien | Citra Xray | Halaman Dashboard dan Status Menunggu berubah menjadi Telah diupload | Pass
4 | Cek hasil pemrosesan citra | Klik tombol upload analysis pada halaman dashboard sesuai dengan id pasien yang telah diinput data citranya | Halaman hasil | Pass

## Slide 23: Web Application Testing
Test Case : Upload Data Pasien
Pre-Requisite : Akun tervalidasi (dokter)
Steps No | Action | Input | Expected Output | Test Result
1 | Membuka url website (http://x-ray.pptik.id) | User : dr ramdani Pass: qwerty | Halaman Dashboard | Pass
2 | klik tombol Diagnosis pada sidebar, lalu klik unggah data pasien | Membuka halaman unggah data pasien | Halaman Unggah Data Pasien | Pass
3 | Memasukkan data pasien | Masukan data awal / gejala klinis pasien dan klik submit | Berhasil di unggah dan kembali ke halaman dashboard | Pass
4 | Cek hasil unggah data | Klik tombol report link pada masing-masing pasien | Halaman hasil | Pass

## Slide 24: Peluang Penelitian
Memperbaiki model deep learning untuk pencapaian metrik unjuk kerja yang lebih baik
Memperbaiki arsitektur sistem agar makin menyerupai tahapan diagnosis yang sesungguhnya; Diantaranya:
  Menjadikan model deep learning hanya sebagai penghasil informasi patologis pada organ yang terdapat dalam citra radiologi
  Melibatkan data klinis sebagai informasi input proses training
Mengaplikasikan prosedur serupa untuk jenis penyakit lain

## Slide 25: Selesai